## Summary
Report Name | EEM-Inc-BLR-Week Report
Description | This report describes the performance of a customer's installations over the specified period
Report Date | 28/04/2015 17:10:03
Performance analysis period | 21/04/2015 17:10:03 - 28/04/2015 17:10:03
General Information
Customer Name | EEM-Inc
Installation Name | BLR
Number of Devices | 10
Total Installed Capacity (KW) | 1073
Location (Lat/long) | 12.9
Irradiance (H0 -STC) | 77.5
Average Day Irradiance (hd) | 4601
Average Month Irradiance (hm) | 138030
Average Year Irradiance (HY) | 1679365
Day Performance Summary
| Current | Min | Max | Average
Performance Ratio | - | - | - | -
Energy/Rated power | - | - | - | -
Earnings | - | - | - | -
Carbon Savings | - | - | - | -
Day energy | - | - | - | -
ACPower | 9098 | 9098 | 14610 | 11706
Temperature | 24
Irridiance | 4664
Wind speed | 70
Ambient Temperature | -9
Module Temperature
Number of open tickets | -
Weather Forecast
Temperature
Mon | 28C
Tue | 32C
Wed | 26C
Thu | 22C
Fri | 24C
Sat | 26C
Sun | 24C

## Plant_Yield_History
Date | Installation

## Comparative_Inverter_Yield
Inverters | Energy
BLR-I9 | 0
BLR-I4 | 0
BLR-I3 | 0
BLR-I8 | 0
BLR-I6 | 0
BLR-I7 | 0
BLR-I2 | 0
BLR-I1 | 0
BLR-I5 | 0
BLR-I10 | 0

## Comparative_Inverter_Performanc
Inverters | Performance
BLR-I9 | 0
BLR-I4 | 0
BLR-I3 | 0
BLR-I8 | 0
BLR-I6 | 0
BLR-I7 | 0
BLR-I2 | 0
BLR-I1 | 0
BLR-I5 | 0
BLR-I10 | 0